THE LORDSHIP LANE SURGERY: CLEANING POLICY

The aims of this cleaning plan:

- To support good infection prevention and control practices;

- To provide assurance to their commissioners and regulators that the premises that this practice delivers healthcare services are clean and fit for purpose.

The objectives of this cleaning plan

- To identify the cleaning requirements for the premises as identified in The National specifications for cleanliness;

- To set out and implement a plan that meet the cleaning requirements of the facilities

- To identify and allocate resources efficiently and effectively;

- To set out and implement a quality assurance process by NHS commissioners can monitor progress and compliance against standard.

- All staff undertaking cleaning within the custody medical rooms will understand their role and the cleanliness outcomes required.

Cleaning Standards:

| Element | Standard | Rationale | Frequency of Cleaning | Product type | Responsibility |
| --- | --- | --- | --- | --- | --- |
| Weighing Scales | All parts including underneath should be visibly clean, with no blood or bodily substances, dust, dirt, debris or spillages | To prevent the spread of infection between clients. | One full clean daily – ad hoc should if required | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Clinical Equipment incl.Blood Pressure Machine, O2 monitor etc. | All parts including underneath should be visibly clean, with no blood or bodily substances, dust, dirt, debris or spillages | To prevent the spread of infection between clients. | One full clean daily – spot cleaning as required | Detergent. Disinfectant if blood or body fluids visible. | Healthcare Providers |
| Examination Couch (wherever possible the couch should be adjustable height and placed in the centre of the room adhere to Health & Safety guidelines) | All parts including castors / feet should be visibly clean, with no blood or body substances, dust, dirt, debris or spillages. | To prevent the spread of infection between clients. | Paper roll should be used for each patient OR wiped after each use. AND Full daily clean with spot cleaning as required | Detergent. Disinfectant if blood or body fluids visible. | Healthcare Providers |
| Switches, Sockets and Data Points | All wall fixtures, e.g. switches, sockets, data points should be visibly clean with no blood or bodily substances, dust, dirt, debris, adhesive tape or spillages | To prevent the spread of infection between clients. | One full clean weekly | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Dressing Trolleys | All parts including castors / feet should be visibly clean, with no blood or body substances, dust, dirt, debris or spillages | To prevent the spread of infection between clients | Daily full clean AND After each use. | Detergent. Disinfectant if blood or body fluids visible. | Healthcare Provider |
| Walls | All wall surfaces including skirtings should be visible clean with no blood or body substances, dust, dirt, debris or spillages | To prevent the spread of infection between clients | Dust weekly, spot cleaning as required AND Full wash annually | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Ceiling | All ceiling surfaces should be visibly clean with no blood or body substances, dust, dirt, cobwebs or debris | To prevent the spread of infection between clients | Dust weekly, spot cleaning as required AND Full wash annually | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| All doors including handles N.B. This includes toilet and cupboard doors. | All parts of the door structure should be visibly clean so that all door surfaces, vents, frames, and jambs have no blood or body substances, dust, dirt, debris, adhesive tape or spillages. | To prevent the spread of infection between clients | Full clean daily including handles and door plates. Spot clean more frequently if required. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| All internal glazing, including partitions and mirrors | All internal glazed surfaces should be visibly clean and smear free with no blood or body substances, dust, dirt, debris, adhesive tape or spillages and should have a uniform shine appearance. | To prevent the spread of infection between clients | One full clean every week Spot clean and check daily Match with walls | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors. |
| All external glazing | All external glazed surfaces should be clean. |  | One full clean every three months | Detergent. | Cleaning contractors. |
| Radiators | All parts of the radiator including between panels should be visibly clean, with no blood or body substances, dust, dirt, debris, adhesive tape or spillages | To prevent the spread of infection between clients | One full clean daily. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Curtains |  | To prevent the spread of infection between clients | Only disposable curtains should be used and changed as a minimum every 6 months OR if visibly contaminated | Disposable | Cleaning contractors |
| Ventilation grilles / Extractors / Inlets N.B. Hepa Filters should be fitted. | The external part of the ventilation grille should be visibly clean with no blood or body substances, dust, dirt, debris or cobwebs. | To prevent the spread of infection between clients | Full clean monthly and dust weekly | As per manufacturers guidance | Cleaning contractors and Police Estates (for monthly clean) |
| Hard Floor Impervious and rounded edges, sealed to wall. | The complete floor including edges, corners and main floor spaces should have a uniform finish or shine and be visibly clean with no blood or body substances, dust, dirt, debris, spillages or scuff marks. | To prevent the spread of infection between clients | Vacuum and Mop daily | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Electrical Items including computer equipment, telephones, N.B. There should not be a printer within a clinical area due to paper dust. | The casing of an electrical item should be visibly clean with no blood or body substances, dust, dirt, debris, adhesive tape or stickers | To prevent the spread of infection between clients | Dust daily Phones cleaned with detergent wipe or equivalent daily in the clinical room, other areas weekly | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Cleaning Equipment N.B. These should be kept in a separate locked room separate , mops & buckets inverted | Cleaning equipment should be visibly clean with no blood or body substances, dust, dirt, debris or moisture. | To prevent the spread of infection between clients | Full clean after each use. Store mops and buckets inverted. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Low and high Surfaces | All surfaces should be visibly clean with no blood or body substances, dust, dirt, debris, adhesive tape or spillages. | To prevent the spread of infection between clients | Full clean daily with detergent and then dried – disinfectant may be required after cleaning with the detergent if body fluids have been spilled. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Chairs | All part of the furniture should be visibly clean with no blood or body substances, dust, dirt, debris, adhesive tape or spillages. | To prevent the spread of infection between clients | Full clean daily with detergent and then dried – disinfectant may be required after cleaning with the detergent if body fluids have been spilled. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Tables / Desks | All parts of the table including wheels, castors and underneath should be visibly clean with no blood or body substances, dust, dirt, debris, adhesive tape or spillages. | To prevent the spread of infection between clients | Full clean daily with detergent and then dried – disinfectant may be required after cleaning with the detergent if body fluids have been spilled. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Hand Wash Containers / Hand Rub dispensers | All part of the surfaces of hand soap / paper towel containers should be visibly clean with no blood or body substances, dust, dirt, debris, adhesive tape or spillages. Dispensers should be kept stocked. | To prevent the spread of infection between clients | Full clean daily with detergent and then dried – disinfectant may be required after cleaning with the detergent if body fluids have been spilled. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Waste Receptacles | The waste receptacle should be visibly clean including lid and pedal with no blood or body substances, dust, dirt, debris, adhesive tape or spillages. | To prevent the spread of infection between clients | Full clean daily with detergent and then dried – disinfectant may be required after cleaning with the detergent if body fluids have been spilled. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Fridges and Freezers N.B. Each fridge should have a thermometer inside & on door without opening to allow temperature check without opening the door. The temperature should be checked daily and be maintained between 2-8 degrees. Reporting mechanisms must be in place if the temperature is found to be outside of these parameters. | Fridges and or Fridge Freezers should be visibly clean with no blood or body substances, dust, dirt, spillages food debris or build up of ice | To prevent the spread of infection between clients | Fridges – one full clean weekly Freezers – defrost and clean monthly | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors for external HCP internal |
| Hot Water Boilers | Hot Water Boilers should be visibly clean with no blood or body substances, dust, dirt, debris, adhesive tape or spillages. | To prevent the spread of infection between clients | Full clean daily with detergent and then dried – disinfectant may be required after cleaning with the detergent if body fluids have been spilled. | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Kitchen Cupboards N.B. Only clinical equipment should be stored. | Kitchen Cupboards should be visibly clean with no blood or body substances, dust, dirt, debris, stains, spillages or food debris | To prevent the spread of infection between clients | One external clean weekly One internal clean quarterly | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors for external Healthcare Providers internally and to clean drugs cupboards. |
| Toilets | The toilet and bidet should be visibly clean with no blood or body substances, scum, dust, removable lime-scale, stains, deposits or smears | To prevent the spread of infection between clients | One full clean daily Twice a day for communal areas | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |
| Sinks | The sink and such equipment as wall attached dispensers etc should be visible clean, with no blood or bodily substances, dust, dirt, debris, lime-scale, stains or spillages. Plugholes and overflow should be free from build-up. | To prevent the spread of infection between clients | One full clean daily Twice a day for communal areas | Detergent. Disinfectant if blood or body fluids visible. | Cleaning contractors |

Frequency of Cleaning

- Low – cells, staff areas

- Medium / High – communal areas & clinical rooms

The cleaning provider will:

- Take ownership of the standards of the cleanliness within the custody suite

- Develop and maintain a cleaning plan in conjunction with the medical services provider contractor

- Oversee the implementation of cleaning standards in conjunction with the medical service provider

- Be responsible for maintaining acceptable standards of cleaning.

- Ensure failures in the provision of cleaning services are swiftly rectified.